Rruga “Martirët e Kombit” shtrihet në pjesën jugpëerëndimore të qytetit të Gjakovës.

Gjerësia e rrugës është 7.00 m dhe e trotuareve 3.00 m në të dy anët e rrugës.

Sistemi i kanalizimit atmosferik përbëhet nga dy kolektorë. Gjatësitë e kolektorëve janë L1=0+723.94 km dhe L2=0+497.35 km

Gjatësia totale e sistemit të kanalizimit atmosferik është Ltot = 1+246.69 km.

Në këtë rrjet të kanalizimit atmosferik është përdorur gypi HDPE SN8 me diametrat e nevojshëm: OD 250mm, OD 315mm dhe OD 400m.

Ujërat e shiut do të drenazhohen përmes ujëmbledhësave në rrugë.

The street “Martyrs of the Nation” extends in the southwestern part of the city of Gjakova. The width of the street is 7.00 meters, with sidewalks 3.00 meters wide on both sides of the street. The atmospheric drainage system consists of two collectors. The lengths of the collectors are L1 = 0+723.94 km and L2 = 0+497.35 km. The total length of the atmospheric drainage system is Ltot = 1+246.69 km. The system uses HDPE SN8 pipes with the necessary diameters: OD 250mm, OD 315mm, and OD 400mm. Rainwater will be drained through the catch basins along the street.